## Sheet1
Energy-Smart Buildings Reporting & Analytics Software Capabilities Matrix
| ICONICS | Brand 2 | Brand 3 | Brand 4 | Brand 5
Fault Detection & Diagnostics (FDD)
Fault detection / diagnostics | 1
Pre-developed (canned) algorithms | 1
Allowance for flexible and customized fault rules by customer or system integrator | 1
Ability to define custom priorities of faults identified | 1
Monetization of faults with respect to utility cost avoidance | 1
Ability to show fault status indication (active, inactive, closed etc.) which can be changed by user | 1
Ability to add user comments per fault | 1
Ability to integrate into a CMMS software | 1
Fault Reporting
Fault priority reports by custom priority and/or costs savings potential | 1
Ability to create custom reports | 1
Ad-hoc reporting | 1
Automatic daily, weekly reports | 1
Utility & Carbon Emissions Management
Customizable utility analytics and reporting templates, M&V Tracking | 1
Energy (Natural Gas, Electricity, Steam, etc.) and water meter integration for realtime management | 1
Batch import of existing meter data | 1
Direct connectivity with weather station reporting burrows for continuous updating | 1
Direct connectivity with EPA Energy Star Portfolio Manager for automatic updating | 1
Customizable financial reporting on energy and equivalent carbon savings | 1
Standard and fully configurable cost, consumption and carbon reports | 1
Utility reporting normalization for variables such as weather, utility rates and building occupancy | 1
Dashboards | 1
Flexible construction of a building specific dashboard | 1
Support the integration of Building Operations, Continuous Monitoring, Historical trending, and Energy data, into any customer defined dashboard | 1
User specific/user group specific information display and/or owner dashboard customization | 1
Allowance for connecting information to a GIS system (ASRI, BING, Google) | 1
Capable of connection or link to operations and maintenance documentation | 1
Determination of key performance indicators (KPIs) | 1
Mobility
Accessible by mobile and tablet technology (Apple, Microsoft, Google, Amazon) | 1
Accessible via all current Web Browser platforms | 1
Ownership of Data
Software as a Service (Subsription-Based) | 1
Full Ownership of Software & Engineering Tools | 1
Access to Corporate & Local Training/Support | 1
Integration Capability
BACnet/IP B-AWS BTL Certified for interoperability with most BMS systems | 1
OPC and OPC UA certified for Integration with industrial (ex. Chiller equipment,) and electrical/lighting systems | 1
Modbus compliant for integration to electrical devices and mechanical machinery | 1
SNMP Support for integrating with communications and IT equipment | 1
Web Services Support for IT network integration and custom application development | 1